## General Informations
Configuring questionnaire for in-situ process analysis
Language of formular: | EN
Details of end user
Customer name:
Plant type or process type
Contact person:
Address:
Preferred contact language:
Phone:
Fax:
E-mail:
Details of Siemens contact person
Sales office/representative:
Date of inquiry:
Inquiry N°:
Name:
Address:
Phone:
Fax:
E-mail:
Result of inquiry evaluation (if measurement feasible, proposal in sheet(s) titled ''Return Form")
This table to be filled out by PD PA AP SUP staff only!
Project N°:
Contact person PD PA AP SUP:
Approval result:
Please note:
-- In order to receive an offer adapted to your needs, please fill in the worksheets "General Information", "Gas composition and ambient", as well as the worksheet "Questionnaire LDS6" or "Questionnaire SITRANS SL", depending on the desired device. - All fields to be filled in have a white background. Fields that are not filled in are considered irrelevant for your application. Possible problems resulting from unfilled cells are your responsibility. - If special hardware is required, please also fill in the worksheet "Special Hardware". - Please note that missing or incorrect information can lead to an inappropriate offer as well as to increased offer costs. Therefore, please inform us if information is uncertain or may change significantly. You can use the "Notes" field of the "Process gas composition and amb" worksheet to do this. If you know alternative conditions, e.g. if you do not know which device is best suited, you can also inform us about it in this field. - In order to allow a more efficient answer, please use the selection lists. Please do not write units as free text in the cells. - All relevant information must be included in this document. Information that is only in the Service Request will not be considered. - Unless otherwise indicated in our answer, all instructions and specifications from AP 01 catalog stay valid.
0
0
0
0

## Questionnaire LDS6
Configuring questionnaire for in-situ process analysis
LDS6: Explanatory drawing of requested information and essential application information
LDS6_EN
Analytical information and sensor demands
|  |  | Channel 1 |  | Channel 2 |  | Channel 3
Measured Component(s)
Component 1
Measuring Range |  |  |  | [unit] |  | [unit] |  | [unit]
Typical concentration |  |  |  | [unit] |  | [unit] |  | [unit]
Type of measurement
Threshold (if applicable) |  |  |  | [unit] |  | [unit] |  | [unit]
Required repeatability |  |  |  | [unit] |  | [unit] |  | [unit]
Component 2
Measuring Range |  |  |  | [unit] |  | [unit] |  | [unit]
Typical concentration |  |  |  | [unit] |  | [unit] |  | [unit]
Type of measurement
Threshold (if applicable) |  |  |  | [unit] |  | [unit] |  | [unit]
Required repeatability |  |  |  | [unit] |  | [unit] |  | [unit]
Gas Temperature |  | min-max |  | °C |  | °C |  | °C
|  | typical |  | °C |  | °C |  | °C
| min-max design |  |  | °C |  | °C |  | °C
Gas pressure |  | min-max |  | [unit] |  | [unit] |  | [unit]
|  | typical |  | [unit] |  | [unit] |  | [unit]
| min-max design |  |  | [unit] |  | [unit] |  | [unit]
Measurement path length |  |  |  | m |  | m |  | m
Dust load |  | min-max |  | mg/Nm³ |  | mg/Nm³ |  | mg/Nm³
|  | typical |  | mg/Nm³ |  | mg/Nm³ |  | mg/Nm³
Desired response time |  |  |  | s |  | s |  | s
Harzardous sensor environment
Purging media available on-site | N2
Instrument air
Air blower
Steam
preferably
Suitable purging tube materials
Required purging tube length
Flange type
EN 15267 / QAL1 requirement?
Hybrid cable length [meter]
Loop cable length [meter]
User documentation language

## Questionnaire SITRANS SL
Configuring questionnaire for in-situ process analysis
Sitrans SL: Explanatory drawing of requested information and essential application information
SISL_EN
Analytical information and sensor demands
Measured Component(s)
Measuring Range |  |  |  |  | [unit]
Typical concentration |  |  |  |  | [unit]
Required repeatability |  |  |  |  | [unit]
Type of measurement
Threshold (if applicable) |  |  |  |  | [unit]
Gas Temperature |  |  | min-max |  | °C
|  |  | typical |  | °C
|  | min-max design |  |  | °C
Gas pressure |  |  | min-max |  | [unit]
|  |  | typical |  | [unit]
|  | min-max design |  |  | [unit]
Measurement path length |  |  |  |  | m
Dust load |  |  | min-max |  | mg/Nm³
|  |  | typical |  | mg/Nm³
Desired response time |  |  |  |  | s
Harzardous sensor environment
Purge medium |  | N2 available ?
wished purging medium*
Suitable purging tube materials
Required purging tube length
Flange type
Loop cable length
Communication interface
User documentation language
SIL requirement?
Additional Remarks
*Caution: A purging medium containing O2 will decrease the measurement accuracy or will totally prevent the measurement, depending on setup and process conditions.

## Gas composition and ambient
Configuring questionnaire for in-situ process analysis
LDS6 and Sitrans SL: Please fill out the following informations about the process
Process gas composition (major species only)
|  |  | Channel 1 | Channel 2 | Channel 3
Nitrogen / vol% | min-max during measurement
typical during measurement
max design
Water vapor / vol% | min-max during measurement
typical during measurement
max design
Oxygen / vol% | min-max during measurement
typical during measurement
max design
CO2 / vol% | min-max during measurement
typical during measurement
max design
CO | min-max during measurement
[unit] | typical during measurement
max design
[Please fill in] | min-max during measurement
[unit] | typical during measurement
max design
[Please fill in] | min-max during measurement
[unit] | typical during measurement
max design
[Please fill in] | min-max during measurement
[unit] | typical during measurement
max design
[Please fill in] | min-max during measurement
[unit] | typical during measurement
max design
Gas speed in m/s
Ambient conditions
Amb. temp. range |  |  | Amb. pressure range
Amb. humidity (rel.) range |  |  | Altitude above sea level
Remarks

## Special Hardware
Configuring questionnaire for in-situ process analysis
Special Hardware
SISL_EN
1/ Flowcell for extractive measurement
Analyzer MLFB and serial number (in case of already delivered analyzer)
Path length
Mount
Heating system
Gas jet pump
Heated gas inlet line with regulator (max 200°C)
Heated gas outlet line with regulator (max 200°C)
Voltage
Language of documentation | EN
Test kits
Type of kit
Measurement gas
Concentration
Other hardware requests
2/ Special Flange (Not to be used with EX-Devices)
Device type
Number of flanges
Regulation
or
Diameter
Thickness
Pressure
Direction of fastening
Number of gaskets
Material of gaskets

## lookups (hidden)
DE | Sprache des Fragebogens: |  | Kunde | Kunde: | Anlage / Prozesstyp: | Kontaktperson: | Adresse: | Bevorzugte Sprache: | Tel: | Fax: | Email: |  | Siemens | Standort / Repräsentant: | Datum: | Anfrage-Nr: | Name: | Adresse: | Tel: | Fax: | Email: |  | Ergebnis Messanfrage (wenn machbar, Vorschlag unter "Response Form") | Nur auszufüllen durch PD PA AP SUP-Mitarbeiter! | Projekt-Nr: | Kontaktperson PD PA AP SUP: | Machbarkeit der Messung: |  |  | Bitte beachten | - Um ein an Ihre Bedürfnisse angepasstes Angebot zu erhalten, füllen Sie bitte die Arbeitsblätter "General Informations", "Gas composition and ambient", sowie je nach gewünschtem Gerät das Arbeitsblatt "Questionnaire LDS6" oder "Questionnaire SITRANS SL" aus. - Alle auszufüllenden Felder haben einen weißen Hintergrund. Felder die nicht ausfüllen sind, werden für aus unserer Sicht für Ihre Applikation als unrelevant angesehen. Mögliche Probleme die aus unausgefüllten Zellen resultieren unterliegen Ihrer Verantwortung. - Sollte Sonderhardware benötigt werden, füllen Sie bitte ebenfalls das Arbeitsblatt "Special Hardware" aus. - Bitte nehmen Sie zur Kenntnis, dass fehlende oder fehlerhafte Informationen zu einem unpassenden Angebot sowie zu erhöhten Angebotskosten führen können. Informieren Sie uns daher bitte, wenn Angaben unsicher sind oder sich noch signifikant ändern können. Dazu können Sie das Feld "Anmerkungen" des Arbeitsblatts "Process gas composition and amb" nutzen. Sollten Sie alternative Bedingungen kennen, z.B. wenn Sie nicht wissen welches Gerät am besten geeignet ist, können Sie uns auch darüber in diesem Feld informieren. - Um eine effizientere Antwort zu erlauben, nutzen Sie bitte die Auswahllisten. Bitte schreiben Sie keine Einheiten als Freitext in die Zellen. - Alle relevanten Informationen müssen in diesem Dokument enthalten sein. Informationen die sich nur im Service Request befinden werden nicht beachtet. - Wenn nicht anders in unserer Antwort angegeben, bleiben Anleitungen und Spezifikationen des AP 01 Katalogs gültig. | [13 empty] | LDS6: Anmerkungen | Die Zentraleinheit LDS 6 sollte an einem staubfreien und möglichst erschütterungsfreien Ort aufgestellt werden. Die Entfernung zwischen Zentraleinheit und dem Messpunkt, d.h. den Sensoren, sollte 700 Meter nicht überschreiten. Die relative Luftfeuchte darf 80% nicht übersteigen und die Umgebungstemperatur muss zwischen 5 – 45 °C betragen. Die Umgebungstemperatur am Installationsort der Sensoren muss zwischen -30 – 70 °C betragen. Spülmedien sollten öl- und staubfrei sein. Instrumentenluft oder N2 sollten bereitgestellt werden mittels flexibler Verrohrung mit 6mm Außendurchmesser. Dampf mittels DN12 Verrohrung. Zwecks Installation und Service muss ein Freiraum von 60x60x60cm um den sender- und empfängerseitigen Sensor bestehen. |  | Sitrans SL: Anmerkungen | Die relative Luftfeuchte muss kleiner 100% sein und die Umgebungstemperatur am Installationsort der Sensoren muss zwischen -20 – 55 °C betragen. Das Spülmedium N2 sollte bereitgestellt werden mittels flexibler Verrohrung mit 6mm Außendurchmesser. Das Spülmedium N2 sollte öl- und staubfrei sein und einen Taupunkt < -10°C aufweisen. Um die bestmögliche Leistung zu erreichen sollte die N2-Reinheit >99,7% betragen und einen O2-Gehalt < 0,01Vol% aufweisen. Kondensation auf den Optiken ist zu vermeiden. Zwecks Installation und Service muss ein Freiraum von 60x60x60cm um den sender- und empfängerseitigen Sensor bestehen. |  | Achtung: | - Die Temperatur am Flansch darf für ATEX Versionen 70°C nicht überschreiten. - LDS6: Die 4-20mA Analog-Ausgänge sind aktiv (selbstversorgend) - Sitrans SL: Die 4-20mA Analog-Ausgänge sind passiv , ein zusätzlicher Speisetrenner (7,5-30V) muss für jeden Analogausgang bereitgestellt werden, z.B. Sitrans I
EN | Language of formular: |  | Details of end user | Customer name: | Plant type or process type | Contact person: | Address: | Preferred contact language: | Phone: | Fax: | E-mail: |  | Details of Siemens contact person | Sales office/representative: | Date of inquiry: | Inquiry N°: | Name: | Address: | Phone: | Fax: | E-mail: |  | Result of inquiry evaluation (if measurement feasible, proposal in sheet(s) titled ''Return Form") | This table to be filled out by PD PA AP SUP staff only! | Project N°: | Contact person PD PA AP SUP: | Approval result: |  |  | Please note: | -- In order to receive an offer adapted to your needs, please fill in the worksheets "General Information", "Gas composition and ambient", as well as the worksheet "Questionnaire LDS6" or "Questionnaire SITRANS SL", depending on the desired device. - All fields to be filled in have a white background. Fields that are not filled in are considered irrelevant for your application. Possible problems resulting from unfilled cells are your responsibility. - If special hardware is required, please also fill in the worksheet "Special Hardware". - Please note that missing or incorrect information can lead to an inappropriate offer as well as to increased offer costs. Therefore, please inform us if information is uncertain or may change significantly. You can use the "Notes" field of the "Process gas composition and amb" worksheet to do this. If you know alternative conditions, e.g. if you do not know which device is best suited, you can also inform us about it in this field. - In order to allow a more efficient answer, please use the selection lists. Please do not write units as free text in the cells. - All relevant information must be included in this document. Information that is only in the Service Request will not be considered. - Unless otherwise indicated in our answer, all instructions and specifications from AP 01 catalog stay valid. | [13 empty] | LDS6: General remarks | The central unit must be placed in a control room environment or similar. Relative humidity must be below 80% and ambient temperature range between 5 – 45 °C. Ambient temperature at the sensors must be in the range -30 – 70 °C. Purging media should be oil- and dust free. Instrument air or N2 should be provided using a 6 mm outer diameter flexible tube. Steam should be provided using DN12 tubing. For service/installation of the sensors, a free space of 60x60x60 cm must be available around both the transmitter and receiver. |  | Sitrans SL: General remarks | Relative humidity must be below 100% and ambient temperature at the sensors must be in the range -20 – 55°C. Purging medium N2 should be provided using a 6 mm outer diameter flexible tube. N2 should be oil- and dust free with dew point < -10°C. In order to achieve full performance N2 purity must be > 99,7 % and an O2 content of < 0,01Vol% is recommended. Condensation on optical surfaces must be avoided. For service/installation of the sensors, a free space of 60x60x60 cm must be available around both the transmitter and receiver. |  | Attention: | - For ATEX version, the temperature of the process flange must not exceed 70°C. - The LDS6 will provide active (self-supplied) 4-20mA analog output signals - The Sitrans SL will provide passive (non-self-supplied) 4-20mA analog output signals, for Sitrans SL an external isolating power supply (7,5-30V) for each analog output signal is required, e.g. Sitrans I
DE |  | LDS6: Zeichnung zur Erläuterung der angefragten Information | LDS6_DE | Analytische Informationen und Sensoranforderungen |  | Messkomponenten | Messkomponente 1 | Messbereich | Typische Konzentration | Art der Messung | Schwellwert (wenn zutreffend): | Erforderliche Wiederholgenauigkeit | Messkomponente 2 | Messbereich | Typische Konzentration | Art der Messung | Schwellwert (wenn zutreffend): | Erforderliche Wiederholgenauigkeit | Prozessgastemperatur | min-max (typisch) |  | Prozessgasdruck | min-max (typisch) |  | Messpfadlänge | Staubbeladung | min-max (typisch) | Erforderliche Reaktionszeit | Ex-Zone Sensoren | Verfügbares Spülmedium |  |  |  |  | Spülrohrmaterialien | Spülrohrlänge | Flanschtyp | EN 15267 / QAL1 benötigt? | Hybridkabellänge [m] | Sensorverbindungskabellänge [m] | Sprache der Dokumentation | Bemerkungen |  |  |  | min-max | typisch | min-max Auslegung | Kanal 1 | Kanal 2 | Kanal 3 |  | bevorzugt
EN |  | LDS6: Explanatory drawing of requested information and essential application information | LDS6_EN | Analytical information and sensor demands |  | Measured Component(s) | Component 1 | Measuring Range | Typical concentration | Type of measurement | Threshold (if applicable) | Required repeatability | Component 2 | Measuring Range | Typical concentration | Type of measurement | Threshold (if applicable) | Required repeatability | Gas Temperature | min-max, (typical) |  | Gas pressure | min-max, (typical) |  | Measurement path length | Dust load | min-max, (typical) | Desired response time | Harzardous sensor environment | Purging media available on-site |  |  |  |  | Suitable purging tube materials | Required purging tube length | Flange type | EN 15267 / QAL1 requirement? | Hybrid cable length [meter] | Loop cable length [meter] | User documentation language | Additional Remarks |  |  |  | min-max | typical | min-max design | Channel 1 | Channel 2 | Channel 3 |  | preferably
DE |  | Sitrans SL: Zeichnung zur Erläuterung der angefragten Information | SISL_DE | Analytische Informationen und Sensoranforderungen | Messkomponenten | Messbereich | Typische Konzentration | Erforderliche Wiederholgenauigkeit | Art der Messung | Schwellwert (wenn zutreffend): | Prozessgastemperatur | min-max (typisch) |  | Prozessgasdruck | min-max (typisch) |  | Messpfadlänge | Staubbeladung | min-max (typisch) | Erforderliche Reaktionszeit | Ex-Zone Sensoren | Spülmedium |  | Spülrohrmaterialien | Spülrohrlänge | Flanschtyp | Sensorverbindungskabellänge | Kommunikationsschnittstelle | Sprache der Dokumentation | SIL benötigt? | Bemerkungen |  |  | N2 vorhanden ? | gewünschtes Spülmedium* |  |  | *Achtung: Ein Spülgas das O2 enthält wird, je nach Aufbau und Prozess, die Messgenauigkeit verringern oder die Messung ganz verhindern.
EN |  | Sitrans SL: Explanatory drawing of requested information and essential application information | SISL_EN | Analytical information and sensor demands | Measured Component(s) | Measuring Range | Typical concentration | Required repeatability | Type of measurement | Threshold (if applicable) | Gas Temperature | min-max, (typical) |  | Gas pressure | min-max, (typical) |  | Measurement path length | Dust load | min-max, (typical) | Desired response time | Harzardous sensor environment | Purge medium |  | Suitable purging tube materials | Required purging tube length | Flange type | Loop cable length | Communication interface | User documentation language | SIL requirement? | Additional Remarks |  |  | N2 available ? | wished purging medium* |  |  | *Caution: A purging medium containing O2 will decrease the measurement accuracy or will totally prevent the measurement, depending on setup and process conditions.
DE |  | LDS6 and Sitrans SL: Bitte die folgenden Informationen zum Prozess ergänzen | Prozessgasmatrix (Hauptkomponenten) |  | Stickstoff / vol% |  |  | Wasserdampf / vol% |  |  | Sauerstoff / vol% |  |  | CO2 / vol% |  |  | CO |  |  | [Bitte ergänzen] | [Einheit] |  | [Bitte ergänzen] | [Einheit] |  | [Bitte ergänzen] | [Einheit] |  | [Bitte ergänzen] | [Einheit] |  | Prozessgasgeschwindigkeit | in m/s |  | Umgebungsbedingungen | Umgebungstemperatur | Luftfeuchtigkeit (rel.) |  |  | Anmerkungen |  | Umgebungsdruck | Höhe über Meerespiegel |  |  | min-max unter Messung | typisch unter Messbedingungen | max Auslegung | Kanal 1 | Kanal 2 | Kanal 3 | min-max | typisch
EN |  | LDS6 and Sitrans SL: Please fill out the following informations about the process | Process gas composition (major species only) |  | Nitrogen / vol% |  |  | Water vapor / vol% |  |  | Oxygen / vol% |  |  | CO2 / vol% |  |  | CO |  |  | [Please fill in] | [unit] |  | [Please fill in] | [unit] |  | [Please fill in] | [unit] |  | [Please fill in] | [unit] |  | Gas speed in m/s |  |  | Ambient conditions | Amb. temp. range | Amb. humidity (rel.) range |  |  | Remarks |  | Amb. pressure range | Altitude above sea level |  |  | min-max during measurement | typical during measurement | max design | Channel 1 | Channel 2 | Channel 3 | min-max | typical
DE |  | LDS6 Spezifikationsformular: nur auszufüllen durch PD PA AP SUP-Mitarbeiter |  | Spezifikationen Für nicht gelistete Eigenschaften und bei fehlenden Angaben sind die Katalogspezifikationen gültig. |  | Messkomponente 1 möglich? | Messbereich | Nachweisgrenze | Wiederholgenauigkeit |  | Genauigkeit |  | Messkomponente 2 möglich? | Messbereich | Nachweisgrenze | Wiederholgenauigkeit |  | Genauigkeit |  | Integrationsdauer | 1…100s, frei setzbar | Prozessgastemperaturintervall | Kompensationssignal erforderlich | Prozessgasdruckintervall | Kompensationssignal erforderlich | Messpfadlänge | Staubbeladung | Ex-Zone Sensoren | Spülung prozessseitig möglich mit |  |  |  | empfohlener Spülgasfluss | Spülung sensorseitig | möglich mit: |  | Bemerkungen |  | Bestellinformation | LDS 6 Zentraleinheit |  |  |  | CD 6 Sensor, Kanal 1 |  | CD 6 Sensor, Kanal 2 |  | CD 6 Sensor, Kanal 3 |  | Spezielles Material | nötig? | Beschreibung | MFLB | F-Preis | L-Preis | Kanal 1 | Kanal 2 | Kanal 3
EN |  | LDS6: Return Form - to be filled out by PD PA AP SUP staff only! |  | Specifications For specification not listed below and in case of missing data the catalogue specs are valid. |  | Gas Component 1 feasible? | Measuring range | Detection Limit | Repeatability |  | Accuracy |  | Gas Component 2 feasible? | Measuring range | Detection Limit | Repeatability |  | Accuracy |  | Integration time | 1…100s, adjustable | Gas temperature range | Compensation signal required | Gas Pressure range | Compensation signal required | Measurement path length | Dust load | Harzardous sensor environment | Purging process side possible with |  |  |  | Purging flow recommended | Purging sensor side | possible with: |  | Remarks |  | Order information | LDS 6 Central unit |  |  |  | CD 6 Sensor, Channel 1 |  | CD 6 Sensor, Channel 2 |  | CD 6 Sensor, Channel 3 |  | Special Hardware | needed? | Description | Order # | F-Price | L-Price | Channel 1 | Channel 2 | Channel 3
DE |  | Sitrans SL Spezifikationsformular: nur auszufüllen durch PD PA AP SUP-Mitarbeiter |  | Spezifikationen, nur auszufüllen falls Abweichungen zwischen erreichbaren Messparametern und den angeforderten Parametern angegeben in Abschnitt 1 und 2. Bei fehlenden Angaben sind die Katalogspezifikationen gültig. Bei fehlenden Angaben sind die Katalogspezifikationen gültig. | Messkomponente 1 möglich? | Messbereich | Nachweisgrenze | Wiederholgenauigkeit |  | Reaktionszeit |  | Prozessgastemperaturintervall | Kompensationssignal erforderlich | Prozessgasdruckintervall | Kompensationssignal erforderlich | Messpfadlänge | Staubbeladung | Ex-Zone Sensoren | Spülung prozessseitig möglich mit |  |  | empfohlener Spülgasfluss | Spülung sensorseitig | möglich mit: | Bemerkungen |  |  | Bestellinformation | SITRANS SL |  |  |  | Spezielles Material | [17 empty] | nötig? | Beschreibung | MFLB
EN |  | Sitrans SL: Return Form - to be filled out by PD PA AP SUP staff only! |  | Specifications, only to be filled out if feasible parameter range differ from those in section 1 or 2. In case of missing data the catalogue specs are valid. | Gas Component 1 feasible? | Measuring range | Detection Limit | Repeatability |  | Response time |  | Gas temperature range | Compensation signal required | Gas Pressure range | Compensation signal required | Measurement path length | Dust load | Harzardous sensor environment | Purging process side possible with |  |  | Purging flow recommended | Purging sensor side | possible with: | Remarks |  |  | Order information | SITRANS SL |  |  |  | Special Hardware | [17 empty] | needed? | Description | Order #
DE | Fragebogen für in-situ Prozessanalyse | [Einheit] | ja | nein | O2 Hochdruck (0-200°C) | Andere: | Ungenutzt | Keine EEx Zone | 1.4403/316L | Polypropylen | Motorprüfstand (DN65/PN6) | Ja, ungeheizt, Wandmontage | Ja, ungeheizt, Wandmontage, Pumpe | Ja, geheizt, Wandmontage, Pumpe | Ja, geheizt, Rollwagen, Pumpe | Sonderlänge: | Deutsch | Englisch | Französisch | Spanisch | Italienisch | Schwellwertüberwachung | Konzentrationsüberwachung | beides | Instrumentenluft | Gebläseluft | Dampf | wenn nötig | CO - Kein Methan im Prozess | (wenn variabel) | (wenn nicht variabel) | Eingeschränkt: | nur bei korrosiver Umgebungsluft | mbar abs | mbar rel | abgeraten | Keine | minimal | typisch | F-Preis | L-Preis | MLFB | Beschreibung | Siehe PMD | anderes: | nicht möglich | % Messwert
EN | Configuring questionnaire for in-situ process analysis | [unit] | yes | no | O2 high pressure (0-200°C) | Other: | Not used | No EEx zone | 1.4403/316L | Polypropylene | Engine lab version (DN65/PN6) | Yes, unheated, wall mount | Yes, unheated, wall mount, pump | Yes, heated, wall mount, pump | Yes, heated, carrier, wall mount, pump | Customized length: | German | English | French | Spanish | Italian | Threshold control | Concentration monitoring | both | Instrument air | Air blower | Steam | if necessary | CO - No methan in the process | (if variable) | (if not variable) | Limited: | only if air is corrosive | mbara | mbarg | disadvised | None | minimal | typical | F-Price | L-Price | Order # | Description | See PMD | other: | not possible | % meas.
LDS6_DE
LDS6_EN
SISL_DE
SISL_EN
[unit] | [unit] | yes | Not used | [23 empty] | Not used | Not used | Not used | [5 empty] | [unit]
vol% | mbara | no | O2 | No EEx zone | 1.4403/316L | 400 mm | DN65/PN6 | no | 5 | 5 | German | Threshold control | O2 | 340mm | DN50/PN25 | 5m | Analog | (if variable) | yes | No EEx zone | °C | m | mg/Nm³ | no | N2 | N2 | O2 | O2 | O2 | TRUE | TRUE | TRUE | No EEx zone | Drift verification kits | vol%
ppmv | mbarg | if necessary | NH3 | ATEX zone 0/20 | Hastelloy C-22 | 800 mm | ANSI 4"/150lbs | Yes, unheated, wall mount | 10 | 10 | English | Concentration monitoring | CO - No methan in the process | Other: | DN50/PN40 | 10m | PROFIBUS DP | (if not variable) | no | ATEX zone 1/21 | °F | inch | mg/m³ | SIL1 | Instrument air | other: | NH3 | NH3 | NH3 | TRUE | TRUE | TRUE | ATEX zone 1/21 | Calibration verification kits | ppmv
% meas. | psia |  | NH3/H2O | ATEX zone 1/21 | Other: | 1200 mm | Engine lab version (DN65/PN6) | Yes, unheated, wall mount, pump | 25 | 25 | French | both |  |  | ANSI 4"/150lbs | 25m | Modbus |  | Limited: | ATEX zone 2/22 | K |  | g/Nm³ |  | Air blower |  | NH3/H2O | NH3/H2O | NH3/H2O | TRUE | TRUE | TRUE | ATEX zone 2/22 | Zero gas test kit | mg/Nm³
| psig |  | HCl | ATEX zone 2/22 |  |  |  | Yes, heated, wall mount, pump | 40 | Customized length: | Spanish | [8 empty] | FM Cl I,II,III DIV I T6 |  |  | g/m³ |  | Steam |  | HCl | HCl | HCl | TRUE | TRUE | TRUE | FM Cl I,II,III DIV I T6 | Linearity verification kit | mg/m³
| kPa abs |  | HCl/H2O | TIIS |  |  |  | Yes, heated, carrier, wall mount, pump | 50 |  | Italian | [13 empty] | other: |  | HCl/H2O | HCl/H2O | HCl/H2O | TRUE | TRUE | TRUE
| kPa rel |  | HF | [5 empty] | Customized length: | [17 empty] | HF | HF | HF | TRUE | TRUE | TRUE
|  |  | HF/H2O | [23 empty] | HF/H2O | HF/H2O | HF/H2O | TRUE | TRUE | TRUE
|  |  | CO | [23 empty] | CO | CO | CO | TRUE | TRUE | TRUE
|  |  | CO/CO2 | [23 empty] | CO/CO2 | CO/CO2 | CO/CO2 | TRUE | TRUE | TRUE
|  |  | CO2 | [23 empty] | CO2 | CO2 | CO2 | TRUE | TRUE | TRUE
|  |  | H2O | [23 empty] | H2O | H2O | H2O | TRUE | TRUE | TRUE
|  |  | Other: | [23 empty] | Other: | Other: | Other: | TRUE | TRUE | TRUE
Application | N2 | Trockene Instrumentenluft | Instrumentenluft | Dampf |  | Sensor purge needed
A | yes | no | no | no | O2 | yes | O2 | None
C | yes | yes | yes | disadvised | NH3 | only if air is corrosive | NH3 | None
D | yes | yes | no | no | NH3/H2O | yes | NH3 | H2O
E | yes | yes | yes | disadvised | HCl | only if air is corrosive | HCl | None
F | yes | yes | no | no | HCl/H2O | yes | HCl | H2O
G | yes | yes | yes | disadvised | HF | only if air is corrosive | HF | None
H | yes | yes | no | no | HF/H2O | yes | HF | H2O
J | yes | yes | yes | disadvised | CO | only if air is corrosive | CO | None
K | yes | yes | yes | disadvised | CO/CO2 | only if air is corrosive | CO | CO2
L | yes | yes | yes | disadvised | CO2 | only if air is corrosive | CO2 | None
M | yes | yes | no | no | H2O | yes | H2O | None
|  |  | c limit | c*m limit | DL without crossgas | DL with crossgas | Accuracy
AB | 600 … 1200 | 950 … 1050 | 100% | 240%*m |  |  | 5
AC | 0 … 600 | 950 … 1050 | 100% | 75%*m |  |  | 2 up to 200deg, 5 above
AP | 0 … 200 | 950 … 5000 | 100% | 75%*m |  |  | 2
CA | 0 … 150 | 950 … 1050 | 500ppmv | 2500ppmv*m |  |  | 2
CE | 250 … 350 | 950 … 1050 | 500ppmv | 2500ppmv*m |  |  | 2
CF | 300 … 400 | 950 … 1050 | 500ppmv | 2500ppmv*m |  |  | 2
CL | 0 … 400 | 920 … 1120 | 500ppmv | 2500ppmv*m |  |  | 2
CT | 0 … 150 | 950 … 1050 | 500ppmv | 2500ppmv*m |  |  | 2
DA | 0 … 150 | 950 … 1050 | 100ppmv | 1200ppmv*m |  |  | 2
DE | 250 … 350 | 950 … 1050 | 100ppmv | 1200ppmv*m |  |  | 2
DF | 300 … 400 | 950 … 1050 | 100ppmv | 1200ppmv*m |  |  | 2
DL | 0 … 400 | 920 … 1120 | 100ppmv | 1200ppmv*m |  |  | 2
DT | 0 … 150 | 950 … 1050 | 100ppmv | 1200ppmv*m |  |  | 2
EA | 0 … 150 | 950 … 1050 | 6000ppmv | 1200ppmv*m |  |  | 5
EH | 150 … 250 | 950 … 1050 | 6000ppmv | 1200ppmv*m |  |  | 5
ET | 120 … 210 | 950 … 1050 | 60ppmv | 720ppmv*m |  |  | 5
FA | 0 … 150 | 950 … 1050 | 100ppmv | 1200ppmv*m |  |  | 5
FH | 150…250 | 950 … 1050 | 100ppmv | 1200ppmv*m |  |  | 5
FT | 120 … 210 | 950 … 1050 | 60ppmv | 720ppmv*m |  |  | 3
GA | 0 … 150 | 950 … 1050 | 1500ppmv | 200ppmv*m | 0.1ppmv*m |  | 5
GH | 150 … 250 | 950 … 1050 | 1500ppmv | 200ppmv*m | 0.11ppmv*m @150deg |  | 5
HA | 0 … 150 | 950 … 1050 | 200ppmv | 200ppmv*m |  |  | 5
HH | 150 … 250 | 950 … 1050 | 200pppmv | 200ppmv*m |  |  | 5
JC | 0 … 600 | 950 … 1050 | 100% | 40%*m |  |  | 2
KD | 0 … 400 | 800 … 1400 | 100% | 200%*m |  |  | 2
LA | 0 … 150 | 950 … 1050 | 100% | 40%*m |  |  | 2
MA | 0 … 150 | 950 … 1050 | 30% | 240%*m |  |  | 5
MT | 0 … 150 | 950 … 1050 | 30% | 240%*m |  |  | 5
°C | 1 | 0 | 0 |  | 0
°F | 1.8 | -17.7778 | 0 |  | -17.7778
hPa abs | 1 | 0 | 0 |  | 0
hPa rel | 1 | 1000 | 1 |  | 1000
inch | 39.3701 | 0 | 0 |  | 0
K | 1 | -273.15 | 0 |  | -273.15
m | 1 | 0 | 0 |  | 0
mbara | 1 | 0 | 0 |  | 0
mbarg | 1 | 1000 | 1 |  | 1000
mbar abs | 1 | 0 | 0 |  | 0
mbar rel | 1 | 1000 | 1 |  | 1000
psig | 0.014504 | 1000 | 1 |  | 1000
psia | 0.014504 | 0 | 0 |  | 0
Compose MLFB LDS6
ch1 | 0
ch2 | 0
ch3 | 0
7MB6121- | 0 | ? | ? | 0 | ? | - | 0
DE |  | Sonderteile |  | 1/ Bypass-Messzelle für extraktive Messung | Gerätetyp und Seriennummer des zugehörigen Gerätes (wenn bereits vorhanden) | Pfadlänge | Halterung | Heizsystem | Gasstrahlpumpe | Beheizte Gaszuleitung mit Regler (max 200°C) | Beheizte Gasableitung mit Regler (max 200°C) | Spannung | Sprache der Dokumentation |  | Test-Kits | Kit Typ | Messgas | Konzentration |  | Weitere Sonderteilanfragen |  |  | 2/ Spezialflansch (Nicht in Verbindung mit EX-Geräten) | Gerätetyp | Anzahl an Flanschen | Norm | oder | Diameter | Dicke | Druck | Richtung der Schrauben | Anzahl der Dichtungen | Dichtungsmaterial | [8 empty] | Driftprüfkit | Kalibrierprüfkit | Nullgas-Prüfkit | Linearitätsprüfkit
EN |  | Special Hardware |  | 1/ Flowcell for extractive measurement | Analyzer MLFB and serial number (in case of already delivered analyzer) | Path length | Mount | Heating system | Gas jet pump | Heated gas inlet line with regulator (max 200°C) | Heated gas outlet line with regulator (max 200°C) | Voltage | Language of documentation |  | Test kits | Type of kit | Measurement gas | Concentration |  | Other hardware requests |  |  | 2/ Special Flange (Not to be used with EX-Devices) | Device type | Number of flanges | Regulation | or | Diameter | Thickness | Pressure | Direction of fastening | Number of gaskets | Material of gaskets | [8 empty] | Drift verification kits | Calibration verification kits | Zero gas test kit | Linearity verification kit
DE | Sonderlänge: | Gestell zur Wandmontage | Mobiles Gestell | ohne Gestell | ohne | Heizsystem mit Regler, bis zu 200°C | benötigt | Sonderlänge (ganze meter): | Schrauben von Geräteseite aus in Richtung Prozess geschraubt | Schrauben von Prozessseite aus in Richtung Gerät geschraubt | Graphit
EN | Special length: | Wall mounted frame | Mobile frame | without frame | none | Heating system with regulator, max 200°C | required | Special length (full meters): | Screws screwed from device side to process side | Screws screwed from process side to device side | Graphite
1m (standard) | Wall mounted frame | none | none | none | 110V | EN | CD6 | Screws screwed from device side to process side |  | Viton
Special length: | Mobile frame | Heating system with regulator, max 200°C | required | 1m | 230V |  | SITRANS SL | Screws screwed from process side to device side |  | Graphite
| without frame |  |  | 2m
5m
10m
Special length (full meters):
DE
EN
Analytic side
Process side
Flange
Analytics side towards process side
Analytic side
Process side
Flange
Process side towards analytics side